|  |  |  | Risk Assessment – Lighting/Heating |  |  |
| --- | --- | --- | --- | --- | --- |
| Location: Leys Lane, Attleborough NR17 2HX Date: December 2024 |  |  |  |  |  |
| Potential Hazard | Who is at risk? | Existing Control Measure | Risk Rating | Preventative Measures | Responsibilities |
| - Poor lighting or loss of lights - Moving in the dark | People attending premises during dark hours | Adequate light provided with ability to change if circumstances dictate Ceiling lights Wall lights Flood lights Spot lights Light bulbs and fluorescent tubes replaced as required | Low | - Power cut measures - Torches to provide emergency lighting - Storage of various lights and bulbs - New batteries available for torches | - Deacons - Fabric Officer |
| - Heating Equipment - Too cold - Too Hot | All attending premises particular older people | General heating provided by central heating radiators Additional heating by convector heaters fixed above head height and portable oil filled radiators Ceiling fan provide movement of air when hot | Low | - Boiler Maintenance on regular basis - Heaters checked on a regular basis | - Deacons - Fabric Officer |
| - Portable Electrical Appliances - Electrocution - Risk of fire - Burns from hot surface | All attending premises | Turn off all electrical appliances if not in use Ensure no material to come in contact with appliance | Med | - Inspect on regular basis to ensure function | - Deacon - Nominated person |