|  |  |
| --- | --- |
| ABC  Logo 2024.jpg | Risk Assessment – Electrical Safety |
| Location: Leys Lane, Attleborough NR17 2HXDate: December 2024 |
| Potential Hazard | Who is at risk? | Existing Control Measure | Risk Rating | Preventative Measures | Responsibilities |
| * Fixed electrical appliances
* Electrocution and fire
* Burns from hot surfaces
 | All attending premises | Electrical appliances Installed by appropriately trained personCertificated work carried out | Low | * Electrical appliance inspected for functioning
* All worn or damaged equipment to be repaired or replaced
 | * Deacons
 |
| * Use of electrical extensions
* Electrocution and fire
* Burns
* Trips and falls
 | All attending premises | Use extension lead only as a temporary basisRemove when need has expiredAvoid using lead in walkways or access routes | Low | * PAT
* Cover lead with tape to minimise trips
 | * Deacons
* Nominated person
 |
| * Portable Electrical Appliances
* Electrocution
* Risk of fire
* Burns from hot surface
 | All attending premises | Turn off all electrical appliances if not in useEnsure no material to come in contact with appliance | Med | * Inspect on regular basis to ensure function
 | * Deacon
* Nominated person
 |