|  |  |  | Risk Assessment – Electrical Safety |  |  |
| --- | --- | --- | --- | --- | --- |
| Location: Leys Lane, Attleborough NR17 2HX Date: December 2024 |  |  |  |  |  |
| Potential Hazard | Who is at risk? | Existing Control Measure | Risk Rating | Preventative Measures | Responsibilities |
| - Fixed electrical appliances - Electrocution and fire - Burns from hot surfaces | All attending premises | Electrical appliances Installed by appropriately trained person Certificated work carried out | Low | - Electrical appliance inspected for functioning - All worn or damaged equipment to be repaired or replaced | - Deacons |
| - Use of electrical extensions - Electrocution and fire - Burns - Trips and falls | All attending premises | Use extension lead only as a temporary basis Remove when need has expired Avoid using lead in walkways or access routes | Low | - PAT - Cover lead with tape to minimise trips | - Deacons - Nominated person |
| - Portable Electrical Appliances - Electrocution - Risk of fire - Burns from hot surface | All attending premises | Turn off all electrical appliances if not in use Ensure no material to come in contact with appliance | Med | - Inspect on regular basis to ensure function | - Deacon - Nominated person |