|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| ABC  Logo 2024.jpg | | | Risk Assessment – Electrical Safety | | |
| Location: Leys Lane, Attleborough NR17 2HX  Date: December 2024 | | | | | |
| Potential Hazard | Who is at risk? | Existing Control Measure | Risk Rating | Preventative Measures | Responsibilities |
| * Fixed electrical appliances * Electrocution and fire * Burns from hot surfaces | All attending premises | Electrical appliances  Installed by appropriately trained person  Certificated work carried out | Low | * Electrical appliance inspected for functioning * All worn or damaged equipment to be repaired or replaced | * Deacons |
| * Use of electrical extensions * Electrocution and fire * Burns * Trips and falls | All attending premises | Use extension lead only as a temporary basis  Remove when need has expired  Avoid using lead in walkways or access routes | Low | * PAT * Cover lead with tape to minimise trips | * Deacons * Nominated person |
| * Portable Electrical Appliances * Electrocution * Risk of fire * Burns from hot surface | All attending premises | Turn off all electrical appliances if not in use  Ensure no material to come in contact with appliance | Med | * Inspect on regular basis to ensure function | * Deacon * Nominated person |