|  |  |
| --- | --- |
| ABC  Logo 2024.jpg | Risk Assessment – Work at Height |
| Location: Leys Lane, Attleborough NR17 2HXDate: December 2024 |
| Potential Hazard | Who is at risk? | Existing Control Measure | Risk Rating | Preventative Measures | Responsibilities |
| * Changing light bulb and inspection of electrical apparatus
* Heater
* Projector
* Cleaning gutters
* Risk of falls
 | Nominated person | Use of appropriate equipmentLadderEnsure that ladder is secure, fixed or held by another person | Med | * inspection and maintenance of ladder before use
 | * Operative
 |
| * Access to roof void storage
 | Nominated person | Use of appropriate equipmentLadderEnsure that ladder is secure, fixed or held by another person | Med | * Inspection and maintenance of equipment
 | * Fabric Officer
* Nominated person
 |
| * Computer projector
* Hot if touched
 | Operator of projection system | Fixed high and out of reach on proper plinth | Low | * Regular inspection of functioning
* PAT
 | * Fabric Officer
 |
| * Computer
 | Operator | Appropriate use of computer (laptop) Nominated operative | Low | * Regular inspection of functioning
* PAT
 | * Nominated person
 |
| * Audio system
* Electric shock
 | Operator | Appropriate use of systemNominated operative | Low | * Regular inspection of functioning
* PAT
 | * Nominated Person
 |
| * Display Screen
 | Operator | Screen electronically controlled | Low | * Regular inspection of functioning
* PAT
 | * Nominated person
 |