|  |  |  | Risk Assessment – Work at Height |  |  |
| --- | --- | --- | --- | --- | --- |
| Location: Leys Lane, Attleborough NR17 2HX Date: December 2024 |  |  |  |  |  |
| Potential Hazard | Who is at risk? | Existing Control Measure | Risk Rating | Preventative Measures | Responsibilities |
| - Changing light bulb and inspection of electrical apparatus - Heater - Projector - Cleaning gutters - Risk of falls | Nominated person | Use of appropriate equipment Ladder Ensure that ladder is secure, fixed or held by another person | Med | - inspection and maintenance of ladder before use | - Operative |
| - Access to roof void storage | Nominated person | Use of appropriate equipment Ladder Ensure that ladder is secure, fixed or held by another person | Med | - Inspection and maintenance of equipment | - Fabric Officer - Nominated person |
| - Computer projector - Hot if touched | Operator of projection system | Fixed high and out of reach on proper plinth | Low | - Regular inspection of functioning - PAT | - Fabric Officer |
| - Computer | Operator | Appropriate use of computer (laptop) Nominated operative | Low | - Regular inspection of functioning - PAT | - Nominated person |
| - Audio system - Electric shock | Operator | Appropriate use of system Nominated operative | Low | - Regular inspection of functioning - PAT | - Nominated Person |
| - Display Screen | Operator | Screen electronically controlled | Low | - Regular inspection of functioning - PAT | - Nominated person |