|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| ABC  Logo 2024.jpg | | | Risk Assessment – Gas Safety | | |
| Location: Leys Lane, Attleborough NR17 2HX  Date: December 2024 | | | | | |
| Potential Hazard | Who is at risk? | Existing Control Measure | Risk Rating | Preventative Measures | Responsibilities |
| * Gas Boiler * Gas leak * Explosion * Hot water leak | All Attending the premises  Maintenance person or gas engineer | Regular maintenance by appropriate qualified engineer | Low | * Gas Safety certificates * Regular updates * Regular inspection and service for functioning of heating system to work adequately | * Gas Engineer * Fabric Officer |