|  |  |  | Risk Assessment – Gas Safety |  |  |
| --- | --- | --- | --- | --- | --- |
| Location: Leys Lane, Attleborough NR17 2HX Date: December 2024 |  |  |  |  |  |
| Potential Hazard | Who is at risk? | Existing Control Measure | Risk Rating | Preventative Measures | Responsibilities |
| - Gas Boiler - Gas leak - Explosion - Hot water leak | All Attending the premises Maintenance person or gas engineer | Regular maintenance by appropriate qualified engineer | Low | - Gas Safety certificates - Regular updates - Regular inspection and service for functioning of heating system to work adequately | - Gas Engineer - Fabric Officer |