|  |  |
| --- | --- |
| ABC  Logo 2024.jpg | Risk Assessment – Gas Safety |
| Location: Leys Lane, Attleborough NR17 2HXDate: December 2024 |
| Potential Hazard | Who is at risk? | Existing Control Measure | Risk Rating | Preventative Measures | Responsibilities |
| * Gas Boiler
* Gas leak
* Explosion
* Hot water leak
 | All Attending the premises Maintenance person or gas engineer | Regular maintenance by appropriate qualified engineer | Low | * Gas Safety certificates
* Regular updates
* Regular inspection and service for functioning of heating system to work adequately
 | * Gas Engineer
* Fabric Officer
 |