|  |  |
| --- | --- |
| ABC  Logo 2024.jpg | Risk Assessment – Governance/Legislation |
| Location: Leys Lane, Attleborough NR17 2HXDate: December 2024 |
| Potential Hazard | Who is at risk? | Existing Control Measure | Risk Rating | Preventative Measures | Responsibilities |
| * Child Protection and Safeguarding
* Risk of Abuse of Children and vulnerable persons
* Sunday School
 |  | DBS checkingNo working alone with children in the arranged activitiesPersons attending level 2 and level3 safeguarding course | Med | * Interviews of persons who do not undergo DBS
 | * Deacons
* Safeguarding Officers
 |
| * Asbestos
* Risk of inhalation of particles
 | All who enter the building | Asbestos Survey 28th September 2016 by AES | High | * Removal of any asbestos as per regulation
 | * Deacons
 |
| * All Electrical Appliances
* Faulty appliances risk of electrocution
* Risk of fire
 | All who use the appliances | Portable Electrical Appliance Test (PAT)All appliances visual check before use any fault must be reported | High | * Remove and dispose of any faulty appliances
* Replace or repair if required
 | * Deacons
 |